2nd Extraordinary Meeting of the Contracting Parties to the Convention of Nuclear Safety

27-31 August 2012 Vienna, Austria

Final Summary Report,

E. Topical Discussions

Actions taken by Contracting Parties to address initial lessons learned from the

Fukushima Daiichi accident

21. Significant activities and action have been or are being taken by various Contracting Parties. The following list provides examples of these activities and actions (pages 5 + 6):

  - re-evaluating the hazards posed by external events, such as earthquakes, floods and extreme weather conditions, for each nuclear power plant site through targeted reassessment of safety.

  - upgrading safety systems or installing additional equipment and instrumentation to enhance the ability of each nuclear power plant to withstand an unexpected natural event without access to the electrical power grid for an extended period of time, including for an external event affecting multiple units.

  - installing additional equipment and instrumentation in spent fuel pools to ensure cooling can be maintained or restored in all circumstances, or performing additional technical evaluations to determine if additional equipment and instrumentation are needed.

  - performing or planning an evaluation of the guidance that is to be used by the operator to manage emergency situations resulting from severe accidents caused by extreme natural phenomena at nuclear power plants, including for low power and shutdown states. These documents include emergency operating procedures to prevent core damage, severe accident management guidelines to prevent containment failure, and extensive damage mitigation guidelines to address accidents that result in fires or explosions that affect a large portion of a nuclear power plant.

  - developing probabilistic safety assessments to identify additional accident management measures or changes in radiation protection measures for workers on the site that might be needed to perform necessary activities in the event of a severe accident.

  - reviewing and updating national, regional, provincial, municipal and local emergency plans and conducting exercises to encourage greater coordination among the different organizations.

  - improving their radiation monitoring and communications capabilities, and enhancing public communications, such as via dedicated public websites.

  - upgrading regional, off-site and on-site emergency response centres.

  - undertaking review and revision of their legislative framework and undertaking changes to the functions and responsibilities of the regulatory body.